## Incentive Summary (Elec)
CUSTOM PROJECT ENERGY & DEMAND SAVINGS SUMMARY TABLE
Please input the Project Measure Name, the Estimated Measure Cost, Pre-Project Case and Post-Project Case electricity average peak demand and annual electricity consumption in the cells highlighted in light blue below for each specific project measure within the application. The estimated savings, simple payback period and calculated incentive will populate automatically as a result of these inputs. As a reminder, the claimed energy and peak demand savings should be substantiated through the engineering calculations or data analysis included within the "Energy Analysis" tab of this workbook.
Project Measure Name |  | Type of Project | Pre-Project Case |  | Post-Project Case |  |  | Estimated Savings |  | Project Economics |  |  | GHG Reduction (t CO2e) | Calculated Incentive
|  |  | Average Peak Demand (kW) | Annual Consumption (kWh) | Average Peak Demand (kW) | Annual Consumption (kWh) | Estimated Measure Cost (CAD) | Average Peak Demand Savings (kW) | Annual Savings (kWh) | Project Incentivization Percentage | Simple Payback Period (S.P.P) without Incentive | Simple Payback Period (S.P.P) with Incentive
|  | Lighting | [5 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0
Utility Account Number
Hourly kWh Rate | 0.14895 | $/kWh
Formulas:
GHG Reduction (t CO2e) = VLOOKUP(YEAR(TODAY()),'Aggregated GHG Information'!$A21:B46,2, FALSE())*([Annual Savings (kWh)]/(10^6))
Note on C18: Assumed blended utility rate of $.15/kWh.
Note on E8: Average Peak Demand (kWh) is the average load in electricity demand occurring in between X pm to X pm on business days, MONTH X through MONTH X. for a system/piece of equipment over the course of a representative year of operation.
Note on G8: Annual Consumption (kWh) is the electricity consumption for a system/piece of equipment over the course of a representative year of operation.
Note on I8: Average Peak Demand (kWh) is the average load in electricity demand occurring in between X pm to X pm on business days, MONTH X through MONTH X. for a system/piece of equipment over the course of a representative year of operation.
Note on K8: Annual Consumption (kWh) is the electricity consumption for a system/piece of equipment over the course of a representative year of operation.

## Incentive Summary (Gas)
CUSTOM GAS PROJECT ENERGY SAVINGS SUMMARY TABLE
Please input the Project Measure Name, the Estimated Measure Cost, Pre-Project Case and Post-Project Case annual electricity consumption in the cells highlighted in light blue below for each specific project measure within the application. The estimated savings, simple payback period and calculated incentive will populate automatically as a result of these inputs. As a reminder, the claimed energy savings should be substantiated through the engineering calculations or data analysis included within the "Energy Analysis" tab of this workbook.
Project Measure Name |  | Pre-Project Case | Post-Project Case |  | Estimated Savings | Project Economics |  |  | Calculated Incentive
|  | Annual Consumption (GJ) | Annual Consumption (GJ) | Estimated Measure Cost (CAD) | Annual Savings (GJ) | Project Incentivization Percentage | Simple Payback Period (S.P.P) without Incentive | Simple Payback Period (S.P.P) with Incentive
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
[5 empty] | 0 |  |  |  | 0
|  | 0 | 0 | 0 | 0 |  |  |  | 0
Utility Account Number
Gas Rate | 12 | $/GJ
Note on C18: Assumed utility rate of $12/GJ.

## Project Description
PROJECT DESCRIPTION
Please provide a description of the pre-project system/equipment, this description should include details surrounding operating hours, equipment quantities, model numbers, manufacturers and any other relevant information in order to clearly convey the pre-project case for this project.
Please provide a description of the post-project system/equipment, this description should include details surrounding operating hours, equipment quantities, model numbers, manufacturers and any other relevant information in order to clearly convey the post-project case for this project.
Project Timelines
Estimated Project Start Date:
Estimated Project Completion Date:

## Energy Analysis (Pre)
Energy Analysis (Pre-Project Phase)
Please provide substantiation for the claimed eligible savings attributable to your project during the pre-project application phase on this sheet. This substantiation could consist of engineering calculations or analysis of metered data dependant on the M&V requirements agreed upon for your application. Please also clearly state any assumptions that have been made within your analysis.

## Energy Analysis (Post)
Energy Analysis (Post-Project Phase)
Please provide substantiation for the claimed eligible savings attributable to your project during the post-project application phase on this sheet. This substantiation could consist of engineering calculations or analysis of metered data dependant on the M&V requirements agreed upon for your application. Please also clearly state any assumptions that have been made within your analysis.

## Aggregated GHG Information (hidden)
GHG Info - Aggregated Information |  |  |  | As of | 2024-07-15
- | System wide information, including emissions from SaskPower own facilities and IPPs.
- | Forecasts, based on current year estimation, Oct 2023 Business Plan and Sep 2023 Supply Plan, are subject to change.
- | Supply intensity provides the amount of CO₂e emissions produced per gigawatt hour (GWh) of electricity supplied to the system. Consumption intensity considers line losses and Renewable Energy Certificate (REC) sales in the calculation and therefore represents an appropriate intensity number for the end consumer.
- | Emisssion increase for 2024 is a result of: 1) increased load in January due to extreme cold that required more coal generation, 2) low hydro levels and limitations or outages in combined cycle gas units in Q1 which were replaced by coal and less efficient gas units, 3) IPP emission factor adjustment, and 4) hydro projection adjustment from median to below levels which increases needs for fossil fuel units.
|  | Historic | [18 empty] | Forecast
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
GHG Emissions | Mt CO2e | 14.222 | 14.41 | 14.926 | 14.982 | 15.493 | 15.362 | 14.998 | 15.589 | 15.161 | 14.436 | 15.59 | 15.475 | 15.976 | 16.067 | 15.907 | 12.773 | 14.947 | 13.776 | 13.64 | 12.77 | 11.098 | 10.955 | 11.155 | 8.9 | 6.813 | 4.829 | 4.575 | 4.515
Supply Intensity | t CO2e/GWh | 712 | 731 | 722 | 727 | 776 | 736 | 691 | 702 | 652 | 614 | 654 | 638 | 634 | 623 | 627 | 518 | 583 | 525 | 511 | 476 | 402 | 398 | 397 | 309 | 234 | 166 | 155 | 151
Consumption Intensity | t CO2e/GWh | 777 | 800 | 789 | 800 | 855 | 809 | 758 | 777 | 710 | 669 | 715 | 697 | 695 | 676 | 686 | 570 | 637 | 561 | 542 | 510 | 433 | 429 | 428 | 333 | 253 | 179 | 168 | 164
Carbon Footprint
Scope 1 (Direct) | Mt CO2e | Historic 2019: 13.998; Historic 2020: 11.055; Historic 2021: 13.277; Historic 2022: 12.023
Scope 2 (Indirect Energy) | Mt CO2e | Historic 2019: 0.0006; Historic 2020: 0.0002; Historic 2021: 0.0002; Historic 2022: 0.0002
Scope 3 (Indirect Other) | Mt CO2e | Historic 2019: 1.939; Historic 2020: 1.748; Historic 2021: 2.108; Historic 2022: 2.278
*Continually improve Scope 2 & Scope 3 emissions reporting.
Year | Consumption Intensity (t CO2e/GWh)
2005 | 777
2006 | 800
2007 | 789
2008 | 800
2009 | 855
2010 | 809
2011 | 758
2012 | 777
2013 | 710
2014 | 669
2015 | 715
2016 | 697
2017 | 695
2018 | 676
2019 | 686
2020 | 570
2021 | 637
2022 | 561
2023 | 542
2024 | 510
2025 | 433
2026 | 429
2027 | 428
2028 | 333
2029 | 253